## Literature Review
ISO 10816-Calibrated Isolation Forest for Predictive Maintenance of ETP Equipment: Real-Time Health Classification of Industrial Pumps and Blowers
Citation Key | Paper Title | Authors | Year | Paper Type | Publisher / Journal | Paper Link | Conclusion (120–200 words) | Research Gap | Relevance to Our Paper
[Ullah2023] | An Intelligent Framework for Fault Diagnosis of Centrifugal Pump Leveraging Wavelet Coherence Analysis and Deep Learning | Ullah, N.; Ahmad, Z.; Siddique, M.F.; Im, K.; Shon, D.-K.; Yoon, T.-H.; Yoo, D.-S.; Kim, J.-M. | 2023 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC10650697/ | This paper proposes an automated diagnostic framework that combines wavelet coherence analysis with parallel CNN and Convolutional Autoencoder networks for centrifugal pump fault diagnosis. Vibration signals are compared against a healthy baseline to generate coherograms that reveal frequency-domain correlations across operating conditions. The parallel neural networks extract complementary features — localized patterns from CNN and broader structural features from CAE — whose combined outputs classify pump health into impeller faults, mechanical seal defects, and normal operation states. The framework achieves 99.68% accuracy, 98.93% precision, 100% recall, and 99.69% F1 score, substantially outperforming existing single-network methods. The approach reduces the need for human expertise in signal preprocessing by automating feature extraction through coherogram-based analysis with enhanced time-frequency resolution. This work establishes the current state of the art in pump fault classification using vibration signals and serves as a benchmark for comparison with our IsolationForest-based health classification approach. | The framework requires vibration signal preprocessing through wavelet coherence analysis and paired healthy-state reference signals, making it difficult to deploy in facilities without clean baseline measurements. It does not operate in an unsupervised setting and cannot handle the unlabeled sensor data scenario common in ETP deployments. | Provides the state-of-the-art benchmark for pump fault detection accuracy using deep learning — essential for comparing the performance and practical trade-offs of our IsolationForest approach in the Results section.
[Sunal2024] | Centrifugal Pump Fault Detection with Convolutional Neural Network Transfer Learning | Sunal, C.E.; Velisavljevic, V.; Dyo, V.; Newton, B.; Newton, J. | 2024 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC11054298/ | This paper presents the first study combining transfer learning with DQ transformation to classify motor faults in centrifugal pumps using real operational data collected by IoT devices at five UK industrial sites over approximately two years. Three-phase current measurements are converted into DQ/Concordia visual patterns via Park transformation and then classified using ResNet-34 CNN transfer learning, achieving up to 85.51% classification accuracy on binary fault detection. The study addresses significant real-world challenges including data scarcity, hardware reliability in harsh industrial environments, and obtaining sufficient faulty pump signatures from operational equipment. The work demonstrates practical viability of image-based CNN analysis for industrial pump condition monitoring and highlights that real-world deployments face data distribution challenges not present in controlled laboratory experiments. The lower accuracy compared to laboratory-based studies reflects the complexity of real operational data, making this paper particularly relevant for honest benchmarking of practical equipment health monitoring systems. | The study uses motor current analysis rather than vibration and sound sensors, and the binary classification (fault vs normal) does not provide severity grading (Normal/Warning/Critical) aligned with ISO 10816 zones. The approach requires IoT infrastructure for three-phase current measurement, which is more complex than deploying vibration and sound sensors. | Provides realistic performance benchmarks from real industrial deployments — demonstrates the practical accuracy range achievable for pump fault detection and validates that 85-100% accuracy is achievable depending on data quality, relevant for contextualising our system's evaluation.
[Ahn2023] | Federated Learning for Predictive Maintenance and Anomaly Detection Using Time Series Data Distribution Shifts in Manufacturing Processes | Ahn, J.; Lee, Y.; Kim, N.; Park, C.; Jeong, J. | 2023 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC10490086/ | This paper proposes a 1DCNN-BiLSTM model for time series anomaly detection combined with federated learning to handle data distribution shifts across heterogeneous manufacturing equipment. Evaluated on pump sensor datasets, the 1DCNN-BiLSTM architecture achieves 97.2% test accuracy, demonstrating strong performance on temporal vibration and sensor data. The federated framework enables privacy-preserving model training across distributed industrial facilities without centralizing raw sensor data. The study confirms that deep learning models trained on pump sensor time series can reliably detect equipment anomalies and supports the use of pump-specific datasets as a standard benchmark for predictive maintenance research. The 97.2% accuracy benchmark on pump sensor data provides a direct performance reference for evaluating IsolationForest-based approaches including our equipment health model. | The approach requires time series sensor data and significant deep learning infrastructure, making it less practical for ETP deployments where real-time single-reading classification (point-in-time health state from current sensor values) is needed. The model also requires federated training coordination across facilities. | Provides a 97.2% pump anomaly detection benchmark using deep learning on sensor data — directly comparable to our IsolationForest accuracy in the Results section.
[Potharaju2025] | A Two-Step Machine Learning Approach for Predictive Maintenance and Anomaly Detection in Environmental Sensor Systems | Potharaju, S.; Tirandasu, R.K.; Tambe, S.N.; Jadhav, D.B.; Kumar, D.A.; Amiripalli, S.S. | 2025 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC11840521/ | This study presents a hybrid unsupervised-to-supervised ML pipeline for anomaly detection in environmental sensor systems where labeled training data is unavailable. Isolation Forest generates pseudo-labels for 405,184 IoT sensor readings in the first stage; Random Forest, Neural Network, and AdaBoost are trained on these labels in the second stage, achieving accuracies of 99.93%, 99.05%, and 98.04% respectively. The methodology directly addresses the labeled data scarcity problem — the same challenge motivating our use of ISO 10816-calibrated synthetic data for training the equipment health model. The study validates that Isolation Forest-based pseudo-labeling produces high-quality training signals for supervised classifiers, establishing a principled approach to bootstrapping labeled datasets from domain-calibrated unsupervised algorithms. | The study applies the approach to generic environmental IoT sensor systems and does not use domain-specific standards (such as ISO 10816) to calibrate training data distributions. It does not address rotating machinery health classification across Normal, Warning, and Critical severity zones. | Validates the role of Isolation Forest as a calibration tool for generating pseudo-labels — a conceptual parallel to our approach of using ISO 10816 zone boundaries to generate calibrated synthetic training data.
[Liu2012] | Isolation-Based Anomaly Detection | Liu, F.T.; Ting, K.M.; Zhou, Z.-H. | 2012 | Research |  | https://dl.acm.org/doi/10.1145/2133360.2133363 | This foundational paper formalizes the Isolation Forest algorithm, demonstrating that anomalies — being 'few and different' — are more easily isolated than normal observations using random recursive partitioning. The algorithm achieves linear time complexity and sub-linear memory requirements, making it scalable for large industrial datasets. Experimental results across multiple benchmarks confirm that Isolation Forest consistently outperforms LOF and Random Forest-based detectors while requiring significantly less computation. The anomaly score — derived from average path length in an ensemble of isolation trees — provides a continuous measure of anomaly degree directly interpretable as a health score. This paper's core principle that anomaly degree correlates inversely with isolation difficulty underpins our equipment health scoring logic: less healthy equipment (higher vibration, sound, temperature) is more easily isolated by the model, yielding a more negative anomaly score. | The original algorithm uses linear axis-parallel isolation cuts, which can be biased in high-dimensional clustered spaces. The contamination parameter must be set manually and the algorithm does not incorporate domain knowledge such as ISO 10816 thresholds into its isolation criteria. | Foundational algorithm underlying our equipment anomaly detection model — understanding its score interpretation (path length → health score) is essential for the Methodology section.
[Xu2023] | Deep Isolation Forest for Anomaly Detection | Xu, H.; Pang, G.; Wang, Y.; Wang, Y. | 2023 | Research |  | https://arxiv.org/abs/2206.06602 | Deep Isolation Forest extends the original Isolation Forest by replacing linear axis-parallel isolation with nonlinear neural network-based random representation mappings, enabling isolation of complex anomalies that classical Isolation Forest misses in high-dimensional or non-linearly distributed datasets. The method achieves significant improvement over state-of-the-art isolation-based methods while inheriting the computational efficiency and ensemble scalability of the original iForest framework. Evaluated across tabular, time series, and graph datasets, the approach demonstrates robust performance gains. For equipment health monitoring with three-dimensional sensor data (sound, vibration, temperature), the nonlinear isolation capability is particularly relevant as the joint distribution of these three parameters across health states may not be linearly separable. This work provides both a theoretical extension and practical improvement path for our current IsolationForest implementation. | The paper does not evaluate the method in the context of ISO 10816-calibrated training data or rotating machinery health monitoring. The equipment health domain with three sensor features is not specifically addressed. | Provides a direct algorithmic improvement path for our equipment model and theoretical grounding for why the IsolationForest works well on the three-feature (sound, vibration, temperature) sensor space.
[Ghinea2023] | Semi-Supervised Anomaly Detection of Dissolved Oxygen Sensor in Wastewater Treatment Plants | Ghinea, L.M.; Miron, M.; Barbu, M. | 2023 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC10575448/ | This paper evaluates five semi-supervised ML techniques including Isolation Forest on dissolved oxygen sensor anomaly detection in wastewater treatment plants. Convolutional Autoencoder achieves the highest accuracy (98.36% for complete faults), while Isolation Forest provides competitive performance for preliminary screening scenarios. The research demonstrates that semi-supervised techniques are viable for ETP sensor anomaly detection without requiring labeled training data, and that Isolation Forest in particular is well-suited for initial triage before deeper analysis. The study establishes that fault detection latency and alert generation are as important as accuracy in operational ETP environments. These findings inform our design decision to use Isolation Forest as the primary detection algorithm for ETP equipment — its suitability for unlabeled data and low computational cost make it practical for real-time fleet monitoring. | The study focuses on process quality sensors (dissolved oxygen) and not on equipment mechanical health sensors (vibration, sound, temperature). ISO 10816 calibration and severity zone classification are not addressed. | Provides direct comparative data for Isolation Forest performance on wastewater-domain sensor data — validates the algorithm choice for our equipment health monitoring model.
[Khattach2025] | End-to-End Architecture for Real-Time IoT Analytics and Predictive Maintenance Using Stream Processing and ML Pipelines | Khattach, O.; Moussaoui, O.; Hassine, M. | 2025 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC12074242/ | This paper presents an end-to-end IoT predictive maintenance architecture integrating Kafka stream processing, Apache Spark ETL, and a modular ML pipeline with REST monitoring API. Experimental validation confirms practical applicability across diverse industrial domains. The modular ML pipeline handles automated preprocessing, training, and evaluation, while continuous monitoring components track system performance and feed insights through an API. The architecture demonstrates that separating data ingestion, ML inference, and recommendation delivery into independent modules improves scalability and fault tolerance. For equipment health monitoring, the paper establishes that stream processing of sensor data combined with ML inference can achieve real-time latency suitable for operational use. | The architecture does not address rotating machinery-specific sensor types (vibration, sound) or ISO 10816 threshold calibration. Equipment health severity classification into Normal/Warning/Critical zones is not implemented. | Demonstrates the deployment architecture our equipment monitoring system is built on — IoT sensor streams, ML inference, and REST API delivery — validating our architectural decisions.
[Springer2025] | Detecting Anomalies Using Rotated Isolation Forest | Multiple Authors | 2025 | Research |  | https://link.springer.com/article/10.1007/s10618-025-01096-5 | This paper proposes Rotated Isolation Forest, which applies random rotations to the feature space before each isolation step, enabling the algorithm to isolate anomalies that are aligned with non-axis-parallel boundaries — a key limitation of the original Isolation Forest. The method achieves significantly improved anomaly detection accuracy on datasets with non-axis-parallel anomaly clusters while maintaining the computational efficiency of the original algorithm. Experimental results across multiple benchmark datasets confirm that Rotated Isolation Forest closes the performance gap between classical Isolation Forest and deep learning anomaly detectors for tabular data without the training overhead of neural networks. For three-dimensional equipment sensor data where anomalous states may appear as non-axis-parallel clusters in the sound-vibration-temperature feature space, this algorithm variant represents a direct improvement over our current implementation. | The evaluation uses general benchmark datasets and does not address rotating machinery health monitoring or ISO 10816 threshold-calibrated datasets. The impact on ETP-specific three-sensor feature spaces is not measured. | Provides an algorithmic improvement path over our standard Isolation Forest — cited in the Future Work section as a more accurate alternative for the equipment health model.
[MDPI2025c] | Integrating AI and IoT for Predictive Maintenance in Industry 4.0 Manufacturing Environments: A Practical Approach | Multiple Authors | 2025 | Research |  | https://www.mdpi.com/2078-2489/16/9/737 | This paper presents a practical framework for integrating AI and IoT sensors for predictive maintenance in Industry 4.0 manufacturing, evaluating ML models for equipment failure prediction using temperature, vibration, and current sensor data. The framework demonstrates that combining rule-based threshold monitoring with ML-based anomaly detection improves failure prediction accuracy compared to either approach alone — a two-layer approach that directly mirrors our IsolationForest + ISO 10816 threshold combination. Results confirm that sound, vibration, and temperature are the most informative sensor streams for early equipment fault detection in industrial machinery. The practical deployment findings are particularly relevant for ETP equipment monitoring, where the same sensor types are applicable to pumps and blowers. | The study addresses general manufacturing equipment and does not apply ISO 10816 vibration severity standards as calibration targets for training data generation. ETP-specific equipment types (effluent pumps, aeration blowers) are not evaluated. | Validates the two-layer classification strategy (ML + rule-based thresholds) used in our equipment health module, and confirms that sound, vibration, and temperature are the most informative sensor features — directly supporting our feature set selection.
[MDPI2025d] | Machine Learning-Based Predictive Maintenance at Smart Ports Using IoT Sensor Data | Multiple Authors | 2025 | Research |  | https://www.mdpi.com/1424-8220/25/13/3923 | This paper applies ML-based predictive maintenance to heavy industrial equipment in smart port environments using IoT vibration, temperature, and acoustic sensor data. The framework evaluates multiple classification algorithms — Random Forest, XGBoost, and Isolation Forest — for equipment health state prediction and demonstrates that Isolation Forest achieves practical anomaly detection without requiring labeled failure data. The study validates that vibration and acoustic signals combined with temperature readings provide sufficient information for reliable three-class health classification (normal, degrading, critical) in industrial port equipment. The application domain — large rotating machinery in harsh industrial environments — shares key characteristics with ETP pumps and blowers, making this paper directly relevant to the experimental design of our equipment health classification system. | The study does not use ISO 10816 as a calibration standard for data generation or threshold setting and does not address ETP-specific equipment types. Multi-industry deployment across 17 sectors is not addressed. | Demonstrates IsolationForest for three-class industrial equipment health classification using the same three sensor types (sound, vibration, temperature) as our system — the most directly comparable deployment scenario in literature.
[JMES2024] | Predictive Maintenance for Rotating Machinery by Using Vibration Analysis | Multiple Authors | 2024 | Research |  | https://journal.ump.edu.my/jmes/article/view/6077 | This paper reviews and experimentally applies vibration analysis techniques for predictive maintenance of rotating machinery, evaluating time-domain, frequency-domain, and time-frequency analysis methods for identifying early signs of equipment degradation. Virtual instruments based on ISO 10816-3 vibration severity chart thresholds are developed to automate diagnostic classification of rotating machinery health states. The study confirms that vibration severity monitoring aligned with ISO 10816 zone boundaries (A through D) provides an effective and standardized framework for machinery condition assessment. The integration of vibration severity thresholds with automated monitoring systems reduces the need for specialist vibration analysts in routine equipment health assessment — directly analogous to our automated ISO 10816-calibrated classification approach. | The study focuses on a single equipment type in a controlled laboratory setting and does not address automated ML-based classification or the use of ISO 10816 zone boundaries as synthetic dataset calibration targets for training IsolationForest models. | Directly validates ISO 10816 as the appropriate standard for vibration-based equipment health classification — provides the engineering standard justification for our training data calibration methodology.
[MDPI2025a] | AI-Driven Anomaly Detection in Smart Water Metering Systems Using Ensemble Learning | Multiple Authors | 2025 | Research |  | https://www.mdpi.com/2073-4441/17/13/1933 | This paper evaluates ensemble learning for anomaly detection in smart water metering systems, demonstrating that ensemble ML methods achieve superior detection accuracy and lower false positive rates compared to single classifiers for water infrastructure monitoring. The study validates ensemble anomaly detection within latency constraints for real-time water system management and provides performance benchmarks applicable to industrial IoT sensor monitoring contexts. While focused on municipal water metering, the ML methodology and ensemble design principles are transferable to industrial ETP equipment sensor monitoring. | The study focuses on municipal water meter anomaly detection, not rotating machinery health monitoring. Vibration, sound, and temperature sensor data are not addressed, and ISO 10816 calibration is absent. | Provides ensemble anomaly detection benchmark in a water-domain context — supports the argument that ML anomaly detection is viable and practical for real-time water infrastructure monitoring.
[Dikmen2025] | AI-Driven Wastewater Management Through Comparative Analysis of Feature Selection Techniques and Predictive Models | Dikmen, F. et al. | 2025 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC12259835/ | This study applies feature selection and ensemble ML for wastewater effluent parameter prediction, confirming that ensemble learning substantially outperforms single classifiers for complex multi-parameter industrial wastewater datasets. The findings establish that ML-based predictive systems for wastewater applications achieve high accuracy across the standard CPCB parameters and that automated monitoring systems improve on manual inspection for effluent quality management. The result that ensemble models capture complex nonlinear relationships in treatment data supports the use of IsolationForest — also an ensemble method — as the primary health classification algorithm in our equipment monitoring module. | The study predicts effluent quality parameters, not equipment health states. Rotating machinery sensor data (vibration, sound, temperature) and ISO 10816 calibration are not relevant to this study. | Shared paper — validates ML ensemble approaches for industrial wastewater monitoring; cited to establish the broader ML context within which our equipment model is deployed.
[PMC2025b] | A Hybrid Deep Learning Approach for Bearing Fault Diagnosis Using Continuous Wavelet Transform and Attention-Enhanced Spatiotemporal Feature Extraction | Multiple Authors | 2025 | Research |  | https://pmc.ncbi.nlm.nih.gov/articles/PMC12074297/ | This paper presents a hybrid deep learning framework for bearing fault diagnosis that combines Continuous Wavelet Transform (CWT) for time-frequency signal representation with an attention-enhanced spatiotemporal feature extractor. The model processes vibration signals from rolling element bearings, achieving state-of-the-art accuracy in detecting multiple fault types including inner race, outer race, and ball defects. The attention mechanism improves discriminative feature focus on fault-indicative frequency components, and the spatiotemporal extractor captures both local and global patterns in the wavelet representation. While the approach delivers superior accuracy compared to classical ML methods, it requires pre-collected labeled vibration time series data and significant preprocessing infrastructure — limitations that motivate simpler, deployment-ready approaches like our IsolationForest model for ETP settings where labeled data is unavailable. | Requires labeled vibration time series data and complex CWT preprocessing, making it unsuitable for ETP deployments with unlabeled single-point sensor readings. The approach is not calibrated to ISO 10816 severity standards. | Establishes the upper bound of fault detection accuracy achievable with deep learning on vibration data — provides a benchmark against which our simpler IsolationForest approach can be positioned for practical ETP deployments.
[Alvi2023] | Deep Learning in Wastewater Treatment: A Critical Review | Alvi, M. et al. | 2023 | Review |  | https://pubmed.ncbi.nlm.nih.gov/37716298/ | This critical review surveys deep learning models for wastewater treatment, covering forecasting, process optimization, and soft-sensing applications. It finds that deep neural networks outperform conventional models for complex wastewater data but suffer from opacity and require large labeled datasets. The review notably omits equipment health monitoring from its scope, confirming that ETP equipment predictive maintenance is an underexplored area in the wastewater AI literature. This gap directly motivates our work as one of the first studies to apply ML-based equipment health classification specifically to ETP pumps and blowers using ISO 10816-calibrated training data. | Equipment health monitoring (pump and blower condition assessment) is entirely absent from the review's scope — no deep learning or ML method is surveyed for ETP equipment fault detection or predictive maintenance. | Confirms that ETP equipment health monitoring is absent from wastewater AI literature — directly establishes the research gap our paper fills.
[Springer2026] | AI-Enabled Modeling for Smart Rural Wastewater Treatment Systems: Current Practices and Remaining Gaps | Multiple Authors | 2026 | Review |  | https://link.springer.com/article/10.1007/s13201-025-02698-6 | This review documents current AI practices in wastewater treatment and confirms that equipment health monitoring is absent from the surveyed systems. All reviewed papers address effluent quality prediction, anomaly detection in process parameters, or energy optimization — none address predictive maintenance of ETP mechanical equipment. The authors identify equipment health monitoring as an open gap, stating that pump and blower failures cause treatment interruptions that are not captured by effluent quality AI systems. This finding directly establishes the novelty of our work as the first integrated system combining wastewater quality analysis with ETP equipment health classification across 17 industry sectors. | Equipment health monitoring is entirely unaddressed in the surveyed wastewater AI literature — confirming the research gap our paper fills. | Strongest available citation for establishing novelty — a 2026 review confirming that ETP equipment predictive maintenance ML has no existing coverage in wastewater AI literature.
[SC2025c] | Application of AI-Based Techniques for Anomaly Management in Wastewater Treatment Plants: A Review | Yang, S. et al. | 2025 | Review |  | https://www.sciencedirect.com/science/article/pii/S0301479725028622 | This review covers anomaly detection in wastewater treatment and confirms that all surveyed anomaly management techniques address process quality parameters (BOD, COD, pH, TSS) and sensor faults in effluent streams. No reviewed paper addresses anomaly detection in ETP mechanical equipment — pumps, blowers, and related rotating machinery. The review identifies equipment reliability as a separate challenge from effluent quality monitoring, and notes that equipment failures are a leading cause of ETP compliance failures that cannot be detected by effluent quality AI systems alone. This confirms that our equipment health monitoring module addresses a genuine gap in wastewater plant intelligence. | Equipment mechanical health anomaly detection is entirely out of scope for all reviewed papers — the gap our paper addresses is definitively confirmed. | Review confirmation that ETP equipment anomaly detection is unaddressed in wastewater AI literature — essential citation for the Introduction to establish novelty.
[Kanawaday2018] | Machine Learning for Predictive Maintenance of Industrial Machines Using IoT Sensor Data | Kanawaday, A.; Sane, A. | 2018 | Research |  | https://www.semanticscholar.org/paper/Machine-learning-for-predictive-maintenance-of-IoT-Kanawaday-Sane/58acdbbd6ce5fb745841853b9a483ca634131408 | This early foundational study demonstrates the viability of ML-based predictive maintenance using IoT sensor data for industrial machines, evaluating ARIMA forecasting and classification algorithms on time series sensor readings to predict equipment failures before they occur. The study establishes that sensor data from vibration, temperature, and current sensors contains sufficient signal for failure prediction, and that ML models outperform fixed-threshold rule-based monitoring for early fault detection. The work is historically significant as one of the early demonstrations of IoT sensor-driven ML predictive maintenance in industrial settings and provides a foundational reference for the broader research area that our ETP equipment health monitoring system contributes to. | The study predates ISO 10816 integration with ML training data generation and does not address unsupervised anomaly detection approaches. ETP-specific equipment types and the wastewater domain are not addressed. | Foundational reference establishing IoT-sensor-driven ML predictive maintenance as a validated research area — provides historical context for our work in the Related Work section.
[Kanawaday2018b] | An Improved Framework for Predictive Maintenance in Industry 4.0 and 5.0 Using Synthetic IoT Sensor Data and Boosting Regressor | Multiple Authors | 2024 | Research | International Journal of Latest Technology in Engineering Management & Applied Science | https://www.ijltemas.in/submission/index.php/online/article/view/1881 | This paper proposes an improved predictive maintenance framework for Industry 4.0 and 5.0 environments using synthetic IoT sensor data generation combined with gradient boosting regressor models for oil and gas equipment. The authors demonstrate that synthetic sensor data generated to reflect realistic operational and failure conditions can effectively train ML models when real labeled failure data is scarce or unavailable. A gradient boosting regressor achieves high predictive accuracy for remaining useful life estimation of industrial equipment, validating that synthetic data calibrated to known failure thresholds is a viable training strategy. The paper establishes a practical methodology for generating synthetic sensor datasets for predictive maintenance, directly paralleling our approach of generating ISO 10816-calibrated synthetic training data for ETP equipment health classification. The finding that synthetic data calibrated to domain thresholds produces reliable ML models is the key methodological contribution supporting our training data generation strategy. | The study focuses on oil and gas equipment and does not apply ISO 10816 vibration severity standards as the calibration basis for synthetic data generation. ETP-specific equipment types (effluent pumps, aeration blowers) are not addressed, and unsupervised anomaly detection approaches are not evaluated. | Validates synthetic IoT sensor data generation as a viable training strategy for predictive maintenance ML models — directly supports our ISO 10816-calibrated synthetic dataset methodology.